IMPORTANT IMFORMATION ABOUT YOUR DRINKING WATER

The [PWS NAME, PWS ID] Has Levels of Chlorite Above Drinking Water Standards

[PWS NAME] violated a drinking water standard.  Although this is not an emergency, as our customers, you have right to know what happened, what you should do, and what we did (are doing) to correct this situation.

We routinely monitor for the presence of drinking water contaminants.  Testing results were received in [monitoring period] show that our system exceeds the standard, or maximum contaminant level (MCL), for chlorite.  The standard for chlorite is 1.0 mg/L.  The average level of chlorite during [monitoring period] has been [result] mg/L.

What should I do?

- You do not need to use an alternate source (e.g. bottled) water supply.  However, if you have specific health concerns, consult your doctor.

What does this mean?

This is not an immediate risk.  If it had been, you would have been notified immediately.  However, some infants and young children who drink water containing chlorite in excess of the MCL could experience nervous system effects.  Similar effects may occur in fetuses of pregnant women who drink water containing chlorite in excess of the MCL.  Some people may experience anemia.

What is being done?

____________________________________________ We anticipate resolving the problem within [estimated time frame].

For more information, please contact ______________________at __________________ or  address.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by the -______water system.  State Water System ID# ____________.  Date distributed:  ___________.

Any ADEQ translation or communication in a language other than English is unofficial and not binding on the State of Arizona.

Cualquier traducción o comunicado de ADEQ en un idioma diferente al inglés no es oficial y no sujetará al Estado de Arizona a ninguna obligación jurídica"