## HIGH Le Pera Elementary School
Name of School District | Name of School | Name (or Number) of Building | Type of Fixture | Location of Fixture | Sample Identification Number | Date of Collection | Time of Collection | Name of Sample Collector | Analytical Result (Lead) ug/L
Parker Unified School District | La Pera Elementary School | A | Drinking Fountain | Maintenance Shop | 4062 | 2017-03-24 | 717 | Joe Hermes | 13
Parker Unified School District | La Pera Elementary School | A | Maintenance Shop Sink | Maintenance Shop | 4070 | 2017-03-24 | 719 | Joe Hermes | 15
Parker Unified School District | La Pera Elementary School | B | Sink Faucet #1 | Shop Sink | 4039 | 2017-03-24 | 617 | Joe Hermes | 5.2
Parker Unified School District | La Pera Elementary School | B | Sink | Bathroom Sink | 4051 | 2017-03-24 | 619 | Joe Hermes | 11
Parker Unified School District | La Pera Elementary School | C | Drinking Fountain | Not Provided | 4079 | 2017-03-24 | 650 | Joe Hermes | 13
Parker Unified School District | La Pera Elementary School | C | Restroom Sink | Restroom Sink | 4077 | 2017-03-24 | 652 | Joe Hermes | 6.8
Parker Unified School District | La Pera Elementary School | D | Faucet Sink #1 | Kitchen | 4033 | 2017-03-24 | 613 | Joe Hermes | 2.8
Parker Unified School District | La Pera Elementary School | D | Faucet Sink #2 | Kitchen | 4066 | 2017-03-24 | 612 | Joe Hermes | 2.6
Parker Unified School District | La Pera Elementary School | E | Sink | Health Aid | 4034 | 2017-03-24 | 628 | Joe Hermes | 2.8
Parker Unified School District | La Pera Elementary School | E | Sink | Lounge | 4073 | 2017-03-24 | 624 | Joe Hermes | 1
Parker Unified School District | La Pera Elementary School | F | Faucet/Fountain | Room #7 | 4067 | 2017-03-24 | 633 | Joe Hermes | 3
Parker Unified School District | La Pera Elementary School | F | Fountain Drinking | 5 | 4053 | 2017-03-24 | 636 | Joe Hermes | 2.3
Parker Unified School District | La Pera Elementary School | H | Sink | 18 | 4064 | 2017-03-24 | 655 | Joe Hermes | 36
Parker Unified School District | La Pera Elementary School | H | Sink | 19 | 4058 | 2017-03-24 | 658 | Joe Hermes | 21
Parker Unified School District | La Pera Elementary School | Housing 18791 | Sink Tap | Kitchen | 4052 | 2017-03-24 | 1135 | Joe Hermes | 1.2
Parker Unified School District | La Pera Elementary School | Housing 18803 | Sink | Kitchen | 4046 | 2017-03-24 | 1122 | Joe Hermes | 8.2
Parker Unified School District | La Pera Elementary School | J | Drinking Fountain | 14 | 4061 | 2017-03-24 | 642 | Joe Hermes | 2.4
Parker Unified School District | La Pera Elementary School | J | Drinking Fountain | 9 | 4063 | 2017-03-24 | 640 | Joe Hermes | 0.97
Parker Unified School District | La Pera Elementary School | K | Outside Drinking Fountain | GYM | 4080 | 2017-03-24 | 645 | Joe Hermes | 0.64
Parker Unified School District | La Pera Elementary School | K | Sink | Men's Restroom Sink | 4065 | 2017-03-24 | 647 | Joe Hermes | 3.7
Parker Unified School District | La Pera Elementary School | L | 25 | Not Provided | 4047 | 2017-03-24 | 703 | Joe Hermes | 5
Parker Unified School District | La Pera Elementary School | L | Fountain | 23 | 4068 | 2017-03-24 | 700 | Joe Hermes | 0.84
Parker Unified School District | La Pera Elementary School | P Buildfing | Faucet | Main Water Line | 4035 | 2017-03-24 | 600 | Joe Hermes | 0.58