

**Underground Storage Tanks (UST) Testing Schedule**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ***Authorized Service Provider Program link***[***: http://azdeq.gov/node/1810***](http://azdeq.gov/node/1810) | | | | | | | |
| **Requirement** | **Must be performed by** | **Date Completed** | **Expiration Date** | **Date Completed** | **Expiration Date** | **Date Completed** | **Expiration Date** |
| ATG/Monitor  Certification – R18-12-240(A)(3) | ADEQ Certified Service Provider **Annually** |  |  |  |  |  |  |
| Line Tightness Testing - R18-12-241(C)(1)(b) | ADEQ Certified Service Provider **Annually** |  |  |  |  |  |  |
| Line Leak Detector Report - R18-12-244(A) | ADEQ Certified Service Provider **Annually** |  |  |  |  |  |  |
| Operations and  Maintenance  Walkthrough inspections for Containment Sumps and Handheld Release  Detection Equipment - R18-12-236(A)(1)(b) | ADEQ Certified Service Provider or Certified Class A/B Operator **Annually** |  |  |  |  |  |  |
| Spill Prevention  Equipment/Containment  Sump Tightness Testing - R18-12-235(A)(1)(b) | ADEQ Certified Service Provider **Triennially** |  |  |  |  |  |  |
| Overfill Prevention Equipment Inspection - R18-12-235(A)(2) | ADEQ Certified Service Provider **Triennially** |  |  |  |  |  |  |
| Corrosion Protection Inspection ­- R18-12-231(B)(1) | ADEQ Certified Service Provider **Triennially** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

**Monitoring Schedule**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Please enter the date monitoring was conducted** | | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| **Requirement** | **Must be completed by** |
| Release Detection reporting - R18-12-243(G)(1) | Service Provider or Certified Class A/B Operator **Monthly** |  |  |  |  |  |  |  |  |  |  |  |  |
| Operations and  Maintenance  Walkthrough inspections for Spill Prevention and  Release Detection Equipment - R18-12-236(A)(1)(a) | Service Provider or Certified Class A/B Operator **Monthly** |  |  |  |  |  |  |  |  |  |  |  |  |
| Under-Dispenser  Containment Visual Inspection - 49-1009(D) | Service Provider or Certified Class A/B Operator **Monthly** |  |  |  |  |  |  |  |  |  |  |  |  |
| Corrosion Protection  Inspection (Cathodic  Protection/Impressed Current) - R18-12-231(C) | Service Provider or Certified Class A/B Operator **Bi-Monthly** |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
| Operations and  Maintenance  Walkthrough inspections for Containment Sumps and Handheld Release  Detection Equipment - R18-12-236(A)(1)(b) | ADEQ Certified Service Provider or Certified Class A/B Operator **Annually** |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Walkthrough inspections can be tracked on the monitoring schedule or testing schedule | |