## mysheet
Analytical Method Code | Analytical Method Name | Comment | Status Code | Analytical Method Desc
Observation | Observation | A | Observations taken while sample, e.g. event conditions
7473 |  | A
EPA 8081 |  | A
7439 |  | A
EPA 8082A |  | A
EPA 7473 |  | A
EPA 3550C |  | A
EPA 1638 |  | A
EPA 1631 |  | A
RED01 |  | A | NO2+NO3, FILTERED, ENZYMATIC REDUCTION,GRIESS RX COLORIMETRY
RED02 |  | A | NO2+NO3, FILT, ENZYM. RED.,GRIESS RX COLORIMETRY, LOW RANGE
SSM01 |  | A | TITRATION, INCREMENTAL, HACH DIGITAL TITR., PH <9.2
UNSPECIFIED USGS |  | A | UNSPECIFIED USGS METHOD
THM02 |  | A | TEMPERATURE, WATER, LIQUID-IN-GLASS THERMOMETER
SM 4500-NH3 BD |  | A | STANDARD METHOD 4500-NH3 B, D
SM 4500NO3 E MOD |  | A | NITRATE - CADMIUM REDUCTION - MODIFIED FOR SEDIMENT
SM 4500NH3 BC MOD |  | A | STANDARD METHOD 4500-NH3 B, C - MODIFIED FOR SEDIMENT
SM18 4500NO3 E |  | A | STANDARD METHOD 18TH ED. NITRATE IN WATER- CADMIUM REDUCTION
SM18 4500 PE |  | A | STANDARD METHOD 18TH ED. SM 4500 PE
ASTM D516-02 |  | A | TURBIDIMETRIC TEST FOR SULFATE, MG/L
EICHROM ACW03 |  | A | AMERICIUM, PLUTONIUM AND URANIUM IN WATER, PCI/L
ASTM D3972 |  | A | STANDARD TEST METHOD FOR ISOTOPIC URANIUM IN WATER, PCI/L
EPA 904.0 |  | A | RADIUM-228 IN DRINKING WATER, PCI/L
SM 3500-NA D |  | A | FLAME EMISSION PHOTOMETRIC METHOD FOR SODIUM
SM 2550B |  | A | STANDARD METHODS - TEMPERATURE - LAB AND FIELD METHODS
EPA 445 |  | A | CHLOROPHYLL A AND PHEOPHYTIN A IN ALGAE BY FLUORESCENCE
SHC02 |  | A | AMMONIA IN FILTERED WATER BY DISCRETE ANALYZER SALICYLATE-HYPOCHLORITE REACTION AND COLORIMETRY NWQL
SM 4500 PF |  | A | PHOSPHORUS BY AUTOMATED ASCORBIC ACID REDUCTION METHOD
SM 4500-SO4 F |  | A | STANDARD METHOD 4500-SO4 SULFATE F - AUTOMATED METHYLTHYMOL BLUE METHOD
HACH 8131 |  | A | METHOD 8131 SULFIDE METHYLENE BLUE METHOD
HISTORICAL DATA | STAND-1671 | A
RSKSOP-175 | STAND-1064 | A
SM 4500-OE | STAND-2107 | A
SM 4500-H | XEN-2049, STAND-2051 | A
SM 2540C | DMAR-1123, TAX-1668, DMAR-1358, ASLS-2029, BOLIN-1234, ASLS-1760, ASLS-1920, XEN-2049, DMAR-1325, ASLS-1800, ASLS-1900, BOLIN-1240, TPL-1509, TAX-1645, ASLS-1820, STAND-1207, DMAR-1350, BOLIN-1512, TAX-2046, TURN-1422, DMAR-1425, TAX-1700, BOLIN-1267, ACT-1661, ASLS-1680 | A
EPA 160.2 | ASLS-1363, TAX-1668, ASLS-1006, DMAR-1358, ASLS-1419, ASLS-1569, ASLS-2027, ASLS-1651, ASLS-1300, BOLIN-1338, ASLS-1597, BOLIN-1240, ASLS-1558, TAX-1645, STAND-1152, ASLS-1257, ASLS-1351, ASLS-1588, DMAR-1425, ASLS-1418, ASLS-1541 | A
SM 4500-NH3G | STAND-2035 | A
EPA 300/SW846 9056A | STAND-2116 | A
EPA 365.2A | STAND-1372 | A
EPA 6010C | STAND-2089 | A
EPA 8260 | STAND-1216, OCAL-1625, OCAL-1408, AENET-1306 | A
SM 4500-S | STAND-1574 | A
EPA 220.7/242.1 | STAND-1287 | A
SW7770 | BCLAB-1449, STAND-1481 | A
EPA 325.3 | ACT-1290, VISTA-1476, STAND-1289, ACT-1661 | A
SM 4500-SI D | STAND-1606 | A
EPA 220.1/220.2 | ASLS-1002, ALTA-1083, ASLS-1092, STAND-1045 | A
EPA 239.2/7421 | ATI-1385, STAND-1382 | A
EPA 279.2 | MCKEN-1090, ASLS-1258, MCKEN-1255, VISTA-1465, MCKEN-1109, BOLIN-1338, VISTA-1495, ASLS-1002, ALTA-1083, ASLS-1092, ASLS-1256, ENS-1433, AZTL-1111, MCKEN-1259, STAND-1171 | A
EPA 7841 | STAND-1084 | A
EPA 272.1 | STAND-1473, VISTA-1465 | A
EPA 282.1 | ASLS-1301, STAND-1451 | A
600/00-02 | STAND-1548, RSE-1550 | A
SM 5540C | STAND-2060 | A
EPA 8270C | STAND-1059, DMAR-1365 | A
EPA 8280B | STAND-2083 | A
SW8260B | TURN-1347, STAND-1079, PAL-1627, TWGEO-1623 | A
RA | STAND-2041, ASURM-1107 | A
EPA 515.1 | ATI-1263, STAND-1200, ATEL-1036, ASLS-1361 | A
OLC 3.2 | STAND-1578 | A
EPA 524.2 | COLUM-1292, ASLS-1428, MITK-1294, COLUM-1420, TURN-1643, STAND-1201, DMAR-1346, DMAR-1354, COLUM-1641, COLUM-1413, MITK-1416, TURN-1421, NEL-1417 | A
BNASIM | STAND-2098 | A
EPA 610 | STAND-1135 | A
EPA 8310 | STAND-1077, DMAR-1404 | A
EPA 3520/8081A | STAND-1670 | A
EPA 612 | STAND-1137 | A
EPA 607 | STAND-1132 | A
EPA 605 | STAND-1130 | A
EPA 613 | STAND-1138 | A
EPA 507 | STAND-1221 | A
GWPL-HERB | ASLS-1303 | A
BLS-21 | ASLS-1426, STAND-1366 | A
ORGANO-HG | STAND-1057, NEL-1341 | A
332.0 | STAND-1178 | A
METHOD 8015 BY ESC | STAND-2102 | A
401 | STAND-2113, DMAR-1340 | A
ISOTOPIC ANALYSIS | UOFA-1544, STAND-1543 | A
900.0 | STAND-2047, RSE-1550 | A
SM 4500 H+ | STAND-1653, TAX-1700 | A
EPA 120.1 | MCKEN-1090, ASLS-1363, ASLS-1006, MCKEN-1254, ASLS-1419, ASLS-1569, ASLS-2027, ASLS-2029, MCKEN-1093, BOLIN-1234, ASLS-1651, ASLS-1760, ASLS-1920, MCKEN-1041, MCKEN-1109, ASLS-1300, ASLS-1597, ASLS-1800, ASLS-1900, BOLIN-1240, ASLS-1105, ASLS-1558, ASLS-1571, ASLS-1820, ASLS-1257, ASLS-1351, ASLS-1588, MCKEN-1259, ASLS-1273, ASLS-1307, ASLS-1329, ASLS-1095, STAND-1148, ASLS-1418, ASLS-1541, ACT-1661, ASLS-1680 | A
RSKSOP-175M | DMAR-1500, STAND-1499 | A
EPA 300.0 | DMAR-1123, DMAR-1500, TAX-1668, DMAR-1358, ASLS-1419, ASLS-1426, ASLS-1545, ASLS-1569, AZTL-1110, BOLIN-1234, XEN-2049, DMAR-1325, BOLIN-1338, BOLIN-1240, ASLS-1558, TAX-1634, TAX-1645, DMAR-1350, TPL-1392, ENS-1432, BOLIN-1512, ASLS-1588, TAX-2046, DMAR-1425, STAND-1174, BOLIN-1267, ASLS-1418, ASLS-1424 | A
EPA 350.1 | ASLS-1258, ASLS-1363, ASLS-1431, ASLS-1419, ASLS-1569, ASLS-2029, ASLS-2027, ASLS-1651, ASLS-1760, ASLS-1920, XEN-2049, ASLS-1008, ASLS-1265, ASLS-1300, VISTA-1496, ASLS-1542, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, STAND-1183, ASLS-1558, ASLS-1820, ASLS-1256, ASLS-1257, ASLS-1351, ENS-1432, ASLS-1588, ASLS-1273, ASLS-1307, ASLS-1329, ASLS-1095, ASLS-1418, ASLS-1541, ASLS-1680 | A
EPA 351.2 | ASLS-1258, ASLS-1326, ASLS-1363, ASLS-1431, ASLS-1587, ASLS-1419, ASLS-1569, ASLS-2029, ASLS-2027, ASLS-1651, ASLS-1760, ASLS-1920, XEN-2049, ASLS-1008, ASLS-1239, ASLS-1265, ASLS-1300, ASLS-1542, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, STAND-1185, ASLS-1558, ASLS-1820, ASLS-1256, ASLS-1257, ASLS-1351, ENS-1432, ASLS-1588, ASLS-1273, ASLS-1307, ASLS-1329, ASLS-1095, ASLS-1418, ASLS-1541, ASLS-1680 | A
SM 4500-NH3F | STAND-1245 | A
A418C | STAND-2025 | A
SM 4500-NORG,C | TAX-1668, ACT-2026, TAX-1645, STAND-1576 | A
MCAWW 353.2 | STAND-2031 | A
SM 5310 B | STAND-2036 | A
EPA 335.4 | STAND-1456, ASLS-1333 | A
SM 4500-SO3 B | STAND-1610 | A
EPA 200.7/6010 | ATI-1385, STAND-1283 | A
EPA 200.7/215.1 | ASLS-1004, ASLS-1006, ASLS-1040, ASLS-1002, ALTA-1083, STAND-1286 | A
EPA 200.7/236.1 | ASLS-1004, ASLS-1006, ASLS-1040, STAND-1288, ASLS-1002, ALTA-1083, ASLS-1092 | A
EPA 375.2 | STAND-1188, ASLS-1258, ASLS-1326, ASLS-1363, ASLS-1534, ASLS-1570, ASLS-1587, ASLS-1004, ASLS-1006, ATI-1378, ASLS-1040, MCKEN-1041, ASLS-1239, ASLS-1265, ASLS-1300, ASLS-1105, ASLS-1571, ASLS-1256, ASLS-1257, ASLS-1351, ASLS-1273, ASLS-1307, ASLS-1329, ASLS-1095, ASLS-1541 | A
EPA 375.4 | MCKEN-1090, STAND-1189, MCKEN-1254, ASLS-2027, ASLS-2029, MCKEN-1093, AZTL-1110, ASLS-1651, ASLS-1760, ASLS-1920, MCKEN-1109, VISTA-1496, ASLS-1800, ASLS-1900, VISTA-1476, ASLS-1820, MCKEN-1259, MCKEN-1235, ASLS-1680 | A
SW9036 | STAND-1484, BCLAB-1449 | A
EPA 340.2 | MCKEN-1090, ASLS-1258, ASLS-1534, ASLS-1587, ASLS-1004, ASLS-1006, MCKEN-1254, MCKEN-1093, AZTL-1110, ATI-1378, MCKEN-1041, MCKEN-1109, VISTA-1496, VISTA-1476, ASLS-1571, ASLS-1256, ENS-1432, STAND-1182, MCKEN-1259, ASLS-1039, MCKEN-1235 | A
SM 4500 F-C | ASLS-1363, ASLS-1570, DMAR-1358, ASLS-1426, STAND-1527, ASLS-2027, ASLS-2029, ASLS-1651, ASLS-1760, ASLS-1920, ASLS-1265, ASLS-1300, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, ASLS-1820, ASLS-1257, ASLS-1351, ASLS-1273, ASLS-1307, DMAR-1425, ASLS-1095, ASLS-1418, ASLS-1424, ASLS-1541, ACT-1661, ASLS-1680 | A
SM 4500-SI C | STAND-1605 | A
SM 4500-B D | STAND-1601 | A
EPA 210.1 | VISTA-1465, STAND-1468 | A
EPA 218.7 | STAND-2115 | A
EPA 7196 | STAND-1282 | A
SW 7196A | STAND-1176 | A
EPA 220.7/236.1 | STAND-1052 | A
EPA 286.2 | ASLS-1002, ALTA-1083, STAND-1172 | A
EPA 202.1 | ASLS-1534, ASLS-1004, STAND-1157, ASLS-1040, ASLS-1002, ALTA-1083 | A
EPA 270.2 | MCKEN-1090, ASLS-1534, ASLS-1004, ASLS-1006, MCKEN-1042, MCKEN-1093, COLUM-1314, VISTA-1465, MCKEN-1109, STAND-1169, VISTA-1495, ASLS-1002, ALTA-1083, ENS-1433, AZTL-1111, MCKEN-1259, ASLS-1039 | A
EPA 270.2/7740 | STAND-1383, ATI-1385 | A
EPA 218.4 | STAND-1108 | A
EPA 8270 | WTECH-1442, STAND-1492, ATI-1386, DMAR-1520, AENET-1308 | A
GC/MS METHOD | STAND-1538, ADA-1539 | A
EPA 601 | APPL-1444, TPL-1389, MCKEN-1317, AAL-1375, ENS-1435, VISTA-1463, BOLIN-1510, STAND-1126, ATI-1236, CSA-1642 | A
MODIF.EPA 531.1 | ASLS-1032, STAND-1054 | A
EPA 903.0/901.1 | STAND-1251 | A
ASTM D6239 | STAND-2121, RSE-1550, STAND-2086 | A
BLS 228 | ASLS-1353, ASLS-1617, STAND-1618, ASLS-1331 | A
EPA 8141 | STAND-1524, APPL-1525 | A
EPA 515 | ASLS-1033, ATI-1021, STAND-1199 | A
EPA 8151 | STAND-1514, ATEL-1515, APPL-1526 | A
EPA 305 | STAND-1231 | A
100 | ASLS-1031, ASLS-1030 | A
EPA 8021B | BOLIN-1274, DMAR-1516, MCKEN-1402, COLUM-1407, STAND-1277, DMAR-1403, COLUM-1401 | A
SW8021A | TPL-1491, TPL-1490, STAND-1489 | A
EPA 420.1 | STAND-1192 | A
EPA 525.2 | STAND-1222 | A
EPA 8080 | STAND-2081 | A
EPA 602/8020 | PHXAL-1447, STAND-1494 | A
EPA 8280 | STAND-2080 | A
EPA 425.1 | STAND-1193 | A
EPA 619 | ATI-1026, STAND-1141 | A
EPA 8015C | STAND-2097 | A
MOD EPA 300.0 | STAND-1557, DMAR-1559, BOLIN-1337 | A
EPA 1631E | FGEO-1568, ALBN-1580, STAND-1621, STAND-1567, ALBN-1579 | A
MOD. EPA 3810 | STAND-1511, BOLIN-1512 | A
U OF IL | DMAR-1344 | A
EPA 913.0 | STAND-1452, BOLIN-1302, RSE-1367 | A
EPA 8270D | STAND-2087 | A
EPA 8015B | STAND-1099 | A
SM 4500 H-B | ASLS-2029, ASLS-1760, ASLS-1920, ASLS-1800, ASLS-1900, STAND-1660, ASLS-1820, ASLS-1680 | A
AM20GAX | STAND-1061 | A
SM 4500-OG | STAND-2109 | A
AM 15 | STAND-1086 | A
EPA 360.1 | STAND-1209, DMAR-1325 | A
SM 4500-OC | STAND-2105 | A
SM 5210B | STAND-2028 | A
SM 2540D | ASLS-1760, ASLS-1920, XEN-2049, ASLS-1800, ASLS-1820, STAND-1657, TAX-2046, TAX-1700, ACT-1661, ASLS-1680 | A
EPA 8015 | STAND-1284 | A
EPA 353.2 | MCKEN-1090, ASLS-1258, ASLS-1326, ASLS-1363, ASLS-1431, ASLS-1534, ASLS-1570, ASLS-1587, ASLS-1004, ASLS-1006, MCKEN-1254, DMAR-1358, ASLS-1419, ASLS-1426, ASLS-1545, ASLS-1569, ASLS-2029, ASLS-2027, MCKEN-1093, ATI-1378, ASLS-1651, ASLS-1760, ASLS-1920, XEN-2049, ASLS-1008, MCKEN-1041, ASLS-1097, MCKEN-1109, ASLS-1239, ASLS-1265, ASLS-1300, VISTA-1496, STAND-1373, ASLS-1542, ASLS-1669, ASLS-1800, ASLS-1900, ASLS-1105, BOLIN-1240, TWGEO-1555, ASLS-1558, ASLS-1571, ASLS-1820, STAND-1186, ASLS-1256, ASLS-1257, ASLS-1351, BCLAB-1449, ASLS-1588, MCKEN-1259, ASLS-1273, ASLS-1307, ASLS-1329, DMAR-1425, ASLS-1039, ASLS-1095, MCKEN-1235, ASLS-1241, ASLS-1418, ASLS-1424, ASLS-1541, ASLS-1680 | A
SM 4500-NH3 BE | STAND-1508, TPL-1509 | A
SM 4500 NO2-B | XEN-2049, TPL-1509, TPL-1392, STAND-1393 | A
EPA 365.3 | MCKEN-1090, STAND-1187, TAX-1668, DMAR-1358, ACT-2026, BOLIN-1234, MCKEN-1255, MCKEN-1109, BOLIN-1338, BOLIN-1240, TAX-1645, DMAR-1350, MCKEN-1259, DMAR-1425, MCKEN-1235, BOLIN-1267, ACT-1661 | A
EPA 365.4 | ASLS-1258, ASLS-1326, ASLS-1363, ASLS-1419, ASLS-1569, ASLS-2029, ASLS-2027, STAND-1210, ASLS-1651, ASLS-1760, ASLS-1920, XEN-2049, ASLS-1008, ASLS-1239, ASLS-1265, ASLS-1300, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, ASLS-1558, ASLS-1820, ASLS-1256, ASLS-1257, ASLS-1351, ASLS-1588, ASLS-1273, ASLS-1307, ASLS-1329, ASLS-1095, ASLS-1418, ASLS-1541, ASLS-1680 | A
EPA 6010B | COLUM-1309, DMAR-1328, STAND-1453, ASLS-1427, COLUM-1313 | A
EPA 365.2 | STAND-1087 | A
SM 4500 CN | STAND-1285, ASLS-1241 | A
EPA 9012A | STAND-2074 | A
SM 4500-S D | STAND-1573 | A
EPA 601/602 | ATI-1237, ASLS-1009, DMAR-1270, ATI-1430, ATEL-1125, COLUM-1315, DMAR-1327, ASLS-1362, MCKEN-1316, DMAR-1503, ALTA-1043, STAND-1147, ASLS-1005, ASLS-1278, HES-1450, ATI-1018, MCKEN-1094 | A
EPA 7000B | STAND-2076 | A
EPA 325.2 | MCKEN-1090, MCKEN-1254, MCKEN-1093, ATI-1378, MCKEN-1041, MCKEN-1109, VISTA-1496, STAND-1179, MCKEN-1259, MCKEN-1235 | A
SM 4500-SI E | STAND-1607 | A
EPA 7060A | COLUM-1310, STAND-1454, COLUM-1313 | A
EPA 200.8-DISS | TAX-1668, STAND-1586 | A
EPA 210.2 | MCKEN-1090, STAND-1160, ASLS-1258, MCKEN-1255, MCKEN-1109, ASLS-1002, ALTA-1083, ASLS-1092, ASLS-1256, MCKEN-1259 | A
SM 3500 | STAND-1281 | A
EPA 7041 | STAND-1078 | A
EPA 218.6 | STAND-1104 | A
EPA 8270A | STAND-1536 | A
EPA 903.0 | STAND-1250 | A
GAMMA RAY HPGE | STAND-2094 | A
SOM01_1 | STAND-1652 | A
EPA 8260B | TWGEO-1415, TWGEO-1626, NEL-1411, NEL-1630, BOLIN-1274, ASLS-1564, STAND-1275, DMAR-1345, DMAR-1521, PIN-1631, TWGEO-1409, DMAR-1640 | A
SM 9222B | STAND-1072 | A
SM 9222D | STAND-1070 | A
EPA 8010B | STAND-2093 | A
EPA 503.1 | AENET-1624, DMAR-1560, STAND-1195, LCONS-1272 | A
EPA 611 | STAND-1136 | A
EPA 3510/8081A | DMAR-1518, STAND-1523 | A
EPA 8330B | STAND-1667 | A
EPA 3510/8082 | DMAR-1519, STAND-1522 | A
EPA 632 | STAND-1146, ATI-1019 | A
EPA 504.1 | ASLS-1563, ATI-1023, STAND-1197 | A
GWPL CARBAMATES | STAND-1048, ASLS-1007, ASLS-1115 | A
GWPL-CARB | ASLS-1303, STAND-1101 | A
6850 | STAND-1190 | A
EPA 8015M | STAND-1071 | A
SM 2130B | STAND-2101 | A
97-602 WA EPH | LLI-2119, STAND-2120 | A
BLS-256 | STAND-1622 | A
FIELD | ADEQ-1121, STAND-1202, OTHER-1122, ADEQ-1644 | A
SM 4500-H+ | TAX-2046, STAND-2000 | A
EPA 410.1 | STAND-2040 | A
M2720C | STAND-2024 | A
EPA 310.2 | STAND-1654 | A
EPA 350.3 | MCKEN-1090, DMAR-1123, STAND-1184, TAX-1668, MCKEN-1254, DMAR-1358, MCKEN-1109, TAX-1645, DMAR-1350, MCKEN-1259, DMAR-1425, MCKEN-1235 | A
SM 4500NH3 D | ACT-2026, TAX-2046, STAND-1663, TAX-1700, ACT-1661 | A
9056 | STAND-1085 | A
EPA 289.1 | ASLS-1534, ASLS-1004, ASLS-1006, STAND-1173, VISTA-1465, ASLS-1040, ASLS-1097, ASLS-1002, ALTA-1083, ASLS-1092 | A
EPA 200.7 | ASLS-1013, MCKEN-1090, DMAR-1123, DMAR-1238, ASLS-1258, ASLS-1266, ASLS-1326, ASLS-1363, ENS-1429, ASLS-1570, ASLS-1587, TAX-1668, TAX-2048, ASLS-1006, STAND-1155, MCKEN-1254, ASLS-1364, ASLS-1419, ASLS-1426, ASLS-1545, ASLS-1569, ASLS-2027, ASLS-2029, MCKEN-1042, MCKEN-1093, BOLIN-1234, MCKEN-1255, COLUM-1314, ASLS-1551, TAX-1646, ASLS-1651, ASLS-1760, ASLS-1920, XEN-2049, MCKEN-1041, MCKEN-1109, ASLS-1239, ASLS-1265, ASLS-1279, ASLS-1300, DMAR-1325, BOLIN-1338, VISTA-1495, ASLS-1597, ASLS-1800, ASLS-1900, XEN-2054, ASLS-1105, BOLIN-1240, TPL-1509, ASLS-1558, ASLS-1571, TAX-1632, ASLS-1820, TAX-2044, ASLS-1092, ASLS-1256, ASLS-1257, ASLS-1351, ASLS-1355, TPL-1392, ENS-1433, BOLIN-1512, ASLS-1588, AZTL-1111, DMAR-1124, MCKEN-1259, ASLS-1273, ASLS-1307, DMAR-1324, ASLS-1329, DMAR-1357, TURN-1422, DMAR-1425, TAX-1633, TAX-1700, ASLS-1095, MCKEN-1235, ASLS-1241, ASLS-1243, BOLIN-1267, BOLIN-1268, ASLS-1418, ASLS-1424, ASLS-1541, ASLS-1680 | A
SM 5310 C | STAND-1507, TPL-1509, BOLIN-1512, ACT-1661 | A
SM 5310 D | STAND-2033 | A
SW9060A | STAND-1589 | A
EPA 335.2 | ASLS-1570, VISTA-1476, ASLS-1571, STAND-1181, ASLS-1241 | A
EPA 335.3 | STAND-1466, ENS-1432 | A
EPA 9010B | STAND-2073 | A
SW846 EPA 9014 | STAND-2111 | A
EPA 376.1 | ASLS-1326, STAND-1211, ASLS-1239 | A
EPA 376.2 | STAND-2020 | A
EPA 9030B | STAND-2078 | A
SW6010 | BCLAB-1449, STAND-1480 | A
EPA 200.7/273.1 | ASLS-1004, ASLS-1006, ASLS-1040, ASLS-1002, ALTA-1083, STAND-1533 | A
EPA 273.1 | ASLS-1534, TAX-1668, TAX-1646, VISTA-1476, TAX-1632, DMAR-1357, DMAR-1425, STAND-1356 | A
EPA 258.1 | ASLS-1258, ASLS-1266, ASLS-1326, ASLS-1363, ASLS-1570, TAX-1668, ASLS-1006, TAX-1646, STAND-1168, ASLS-1239, ASLS-1265, ASLS-1300, ASLS-1002, ASLS-1105, VISTA-1476, TAX-1632, ALTA-1083, ASLS-1257, ASLS-1351, ASLS-1355, ASLS-1273, ASLS-1329, DMAR-1357, DMAR-1425, ASLS-1095, ASLS-1243 | A
SM 4500 CL D | ASLS-1258, ASLS-1326, ASLS-1363, ASLS-1570, ASLS-1587, ASLS-1419, ASLS-2027, ASLS-2029, ASLS-1651, ASLS-1760, ASLS-1920, ASLS-1239, ASLS-1265, ASLS-1300, ASLS-1542, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, ASLS-1571, ASLS-1820, ASLS-1256, ASLS-1257, ASLS-1351, STAND-1244, ASLS-1273, ASLS-1307, ASLS-1329, ASLS-1095, ASLS-1418, ASLS-1541, ASLS-1680 | A
SM 4500 SO4-E | ASLS-1597, STAND-1596 | A
EPA 208.2 | STAND-2037 | A
EPA 200.7/213.3 | STAND-1053, ASLS-1002, ALTA-1083 | A
EPA 213.1 | VISTA-1465, STAND-1469 | A
SM 3500 CR D | STAND-1062, ASLS-1427 | A
CUSTOM GC/MS | ASLS-1028, ASLS-1116, ASLS-1117, ATI-1038, ASLS-1119, ASLS-1120, ASLS-1113, ASLS-1118, ASLS-1291, STAND-1047 | A
EPA 239.2 | MCKEN-1090, ASLS-1258, ASLS-1534, ASLS-1004, ASLS-1006, MCKEN-1042, MCKEN-1093, VISTA-1465, MCKEN-1109, VISTA-1495, ASLS-1002, STAND-1164, ASLS-1571, ALTA-1083, ASLS-1092, ASLS-1256, ENS-1433, AZTL-1111, MCKEN-1259, ASLS-1039, ASLS-1241 | A
MOHAVE PESTICIDES | STAND-1535, ASLS-1029 | A
EPA 531.1 | ATI-1022, PARAG-1226, ASLS-1361, STAND-1203 | A
903.0 | STAND-1553 | A
904 | STAND-1554, RSE-1550 | A
SM 9223B | STAND-1616 | A
COLIFORM | MOHAV-1400 | A
EPA 8010/8020 | STAND-1069 | A
EPA 8260C | STAND-2122 | A
EPA 603 | STAND-1128 | A
EPA 3510C/8081A | STAND-1591, DMAR-1590 | A
BLS 274 | ASLS-1647, STAND-1650 | A
EPA 630 | STAND-1145 | A
UNION CARBIDE | ASLS-1304, STAND-1537 | A
EPA 525.ML | MONTG-1280 | A
CUSTOM CHLORO PEST | ASLS-1017 | A
EPA 314.0 | STAND-1566 | A
EPA 8315M | STAND-1612 | A
EPA 245.2 | STAND-2059 | A
999 | STAND-2112, RSE-1368, DMAR-1340 | A
DHG-NEL 8473.00SC | STAND-1562 | A
EPA 410.4 | STAND-1213, DMAR-1325 | A
SW9050 | STAND-1486, BCLAB-1449 | A
AM18G | STAND-1082 | A
SM 5220 D | STAND-1780 | A
SM 4500 CO2 | BOLIN-1234, BOLIN-1338, BOLIN-1240, STAND-1233, BOLIN-1512 | A
SM 2320B | MCKEN-1090, DMAR-1123, ASLS-1326, ASLS-1363, DMAR-1500, ASLS-1570, TAX-1668, MCKEN-1254, DMAR-1358, ASLS-1419, ASLS-1426, ASLS-1545, ASLS-1569, ASLS-2027, ASLS-2029, MCKEN-1093, BOLIN-1234, ASLS-1651, ASLS-1760, ASLS-1920, XEN-2049, MCKEN-1041, MCKEN-1109, ASLS-1265, ASLS-1300, DMAR-1325, VISTA-1496, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, BOLIN-1240, TPL-1509, ASLS-1558, TAX-1645, ASLS-1820, STAND-1206, ASLS-1257, DMAR-1350, ASLS-1351, BOLIN-1512, ASLS-1588, TAX-2046, MCKEN-1259, ASLS-1273, ASLS-1307, ASLS-1329, DMAR-1425, TAX-1700, ASLS-1095, MCKEN-1235, BOLIN-1267, ASLS-1418, ASLS-1424, ASLS-1541, ACT-1661, ASLS-1680 | A
EPA 8015D | STAND-2066 | A
9056A | STAND-1656 | A
SM 4500 N-O, C | DMAR-1123, DMAR-1358, DMAR-1325, STAND-1530, DMAR-1425 | A
SM 4500-N C | TPL-1398, STAND-1397 | A
SM 4500-NORG | STAND-1572 | A
H8190 | STAND-1056 | A
SM 4500-SI F | STAND-1608 | A
SM 4500-B C | STAND-1600 | A
EPA 206.2/7060 | ATI-1385, STAND-1379 | A
GFAA | STAND-1532 | A
EPA 200.7/208.1 | ASLS-1006, ASLS-1004, STAND-1044, ASLS-1002, ALTA-1083, ASLS-1039 | A
EPA 208.1 | STAND-1467, ASLS-1534, VISTA-1465 | A
EPA 7091 | STAND-1067 | A
EPA 218.2 | MCKEN-1090, ASLS-1258, ASLS-1534, ASLS-1004, ASLS-1006, MCKEN-1042, MCKEN-1093, MCKEN-1109, ASLS-1002, ALTA-1083, ASLS-1092, STAND-1162, ASLS-1256, AZTL-1111, MCKEN-1259, ASLS-1039 | A
EPA 6010 | NEL-1417, STAND-1075 | A
EPA 219.2 | ASLS-1002, ALTA-1083, AZTL-1111, STAND-1163 | A
EPA 220.1 | ASLS-1534, ASLS-1004, STAND-1154, VISTA-1465, ASLS-1040 | A
EPA 200.7/243.1 | ASLS-1004, ASLS-1006, ASLS-1040, ASLS-1002, ALTA-1083, STAND-1046 | A
PESTICIDES SW 846 | ATEL-1096, ASLS-1016 | A
METHOD BAT | STAND-1252 | A
GWPL HERBICIDES | ASLS-1012, ASLS-1114, STAND-1049 | A
SM 9223 | STAND-1224, TURN-1422 | A
EPA 418.1 | ATI-1378, STAND-1191 | A
EPA 601/8010 | PHXAL-1446, STAND-1493 | A
EPA 602 | VISTA-1462, MCKEN-1091, TPL-1390, TWGEO-1638, STAND-1127, ENS-1434, BOLIN-1510, COLUM-1637, AAL-1374, CSA-1642 | A
EPA 8141A | STAND-1513, NEL-1517 | A
EPA 320.1 | STAND-2092 | A
SM 3112 B | STAND-1208, ASLS-1266, ASLS-1326, ASLS-1363, ASLS-1570, ASLS-1364, ASLS-1419, ASLS-1545, ASLS-1569, ASLS-2027, ASLS-2029, ASLS-1551, ASLS-1651, ASLS-1760, ASLS-1920, ASLS-1239, ASLS-1265, ASLS-1300, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, ASLS-1558, ASLS-1820, ASLS-1351, ASLS-1355, ASLS-1588, ASLS-1273, ASLS-1307, ASLS-1095, ASLS-1243, ASLS-1418, ASLS-1424, ASLS-1541, ASLS-1680 | A
GC/FID | STAND-1613 | A
EPA 9020 | STAND-1583 | A
U OF A/U OF IL | STAND-2043, BOLIN-1336, UOFA-2058 | A
SW8270C | STAND-1615 | A
SW 6020 | STAND-1593 | A
SM 4500-OB | STAND-2104 | A
EPA 405.1 | DMAR-1325, STAND-1212, STAND-1322 | A
SM 5220 C | TPL-1509, STAND-1506 | A
SW9040 | STAND-1485, BCLAB-1449 | A
EPA A406B | STAND-2023 | A
EPA 310.1 | ASLS-1258, ASLS-1534, ASLS-1587, ASLS-1004, ASLS-1006, ASLS-1015, AZTL-1110, ASLS-1040, ASLS-1571, ASLS-1256, ENS-1432, STAND-1175, TURN-1422 | A
EPA M2340B | STAND-1055 | A
SM 403 | STAND-1477, VISTA-1464, VISTA-1476, BCLAB-1449 | A
UNKNOWN | STAND-1089 | A
EPA 310.2F | STAND-1655 | A
EPA 160.1 | MCKEN-1090, ASLS-1258, ASLS-1326, ASLS-1363, ASLS-1534, ASLS-1570, ASLS-1587, ASLS-1004, ASLS-1006, STAND-1151, MCKEN-1254, ASLS-1419, ASLS-1426, ASLS-1569, ASLS-2027, MCKEN-1093, AZTL-1110, ATI-1378, ASLS-1651, ASLS-1040, MCKEN-1041, MCKEN-1109, ASLS-1239, ASLS-1265, ASLS-1300, ASLS-1542, ASLS-1597, ASLS-1105, VISTA-1476, ASLS-1558, ASLS-1571, ASLS-1256, ASLS-1257, ASLS-1351, ENS-1432, BCLAB-1449, ASLS-1588, MCKEN-1259, ASLS-1273, ASLS-1307, ASLS-1329, ASLS-1095, MCKEN-1235, ASLS-1418, ASLS-1424, ASLS-1541 | A
EPA 300 | STAND-1504, TPL-1509, TURN-1422, TAX-1700, TURN-1423 | A
EPA 354.1 | ATI-1378, STAND-1371, VISTA-1496 | A
EPA 351.1 | STAND-1080 | A
SM 4500NO3 | STAND-1269 | A
EPA 365.3 MOD | DMAR-1334, STAND-1457 | A
SM 4500-P BE | STAND-1505, TPL-1509, TAX-2046, TAX-1700 | A
SM 4500 PE | STAND-2100 | A
EPA 415.2 | STAND-1063 | A
9012 | STAND-1592 | A
ILM 05.3 | STAND-1598 | A
SM 4500-SO3 C | STAND-1611 | A
SM 4500-S-B,C,D | STAND-1582 | A
SM 2340B | DMAR-1123, STAND-1220, TAX-1668, TAX-2048, DMAR-1358, ASLS-2029, BOLIN-1234, ASLS-1760, ASLS-1920, BOLIN-1338, ASLS-1800, ASLS-1900, BOLIN-1240, TAX-1645, ASLS-1820, TAX-2044, DMAR-1425, BOLIN-1267, ASLS-1680 | A
SW9251 | BCLAB-1449, STAND-1483 | A
EPA 206.2 | MCKEN-1090, ASLS-1534, ASLS-1004, ASLS-1006, MCKEN-1042, MCKEN-1093, COLUM-1314, VISTA-1465, MCKEN-1109, VISTA-1495, ASLS-1002, STAND-1159, ALTA-1083, ASLS-1092, ENS-1433, AZTL-1111, MCKEN-1259, ASLS-1039 | A
EPA 206.3 | STAND-1369 | A
ICP/MS | STAND-2053, XEN-2052 | A
EPA 213.2 | MCKEN-1090, ASLS-1258, ASLS-1534, ASLS-1004, ASLS-1006, MCKEN-1042, MCKEN-1093, MCKEN-1109, ASLS-1002, ASLS-1571, ALTA-1083, ASLS-1092, ASLS-1256, AZTL-1111, MCKEN-1259, ASLS-1039, STAND-1161, ASLS-1241 | A
SM 3500 CR B | STAND-2125 | A
EPA 220.2 | ASLS-1258, ASLS-1006, STAND-1227, ASLS-1571, ASLS-1256, ASLS-1241 | A
EPA 243.1 | ASLS-1534, VISTA-1465, STAND-1472 | A
EPA 279.2/7841 | STAND-1384, ATI-1385 | A
EPA 246.2 | STAND-1166, ASLS-1426, ASLS-1002, ALTA-1083 | A
EPA 249.1 | STAND-1167, VISTA-1465, ASLS-1092 | A
EPA 249.2 | STAND-2075 | A
EPA 272.2 | MCKEN-1090, ASLS-1258, ASLS-1534, ASLS-1004, ASLS-1006, MCKEN-1042, MCKEN-1093, MCKEN-1109, ASLS-1002, ALTA-1083, ASLS-1092, STAND-1170, ASLS-1256, AZTL-1111, MCKEN-1259, ASLS-1039 | A
EPA 204.2 | MCKEN-1090, MCKEN-1255, VISTA-1465, MCKEN-1109, ASLS-1002, STAND-1158, ALTA-1083, ASLS-1092, AZTL-1111, MCKEN-1259 | A
EPA 900.0 | STAND-2121, STAND-1223 | A
EPA 625 | DMAR-1343, ENS-1437, ASLS-1011, ASLS-1010, ATI-1027, STAND-1144 | A
EPA 624 | ENS-1436, MITK-1293, DMAR-1352, STAND-1143, VISTA-1497, NEL-1406, VISTA-1498 | A
BLS 273 | STAND-1649, ASLS-2068, ASLS-1647, ASLS-2067, ASLS-1648 | A
417 | DMAR-1340 | A
RADIONUCLIDE | AENET-1260 | A
EPA 8140 | STAND-2090 | A
EPA 615 | ATI-1025, STAND-1229 | A
EPA 8260B SIM | STAND-2095 | A
EPA 8021A | BOLIN-1274, DMAR-1412, STAND-1276 | A
EPA 8240 | WTECH-1441, STAND-1225 | A
EPA 8240B | STAND-2082 | A
SW8021B | STAND-1635, TWGEO-1636 | A
SW8310 | PAL-1414, STAND-1619 | A
EPA 617 | STAND-1140 | A
EPA 606 | STAND-1131 | A
EPA 609 | STAND-1134 | A
EPA 8330 | STAND-1665 | A
VARIAN MODIFIC. | STAND-1230, ASLS-1014 | A
SM-2540C | BOLIN-1338 | A
SM 3112 | ASLS-1257 | A
7500-RN | RSE-1377, STAND-1461 | A
MOD. EPA 8015 | DMAR-1320, STAND-1620 | A
537 | STAND-2124 | A | EPA Document #: EPA/600/R-08/092 - METHOD 537. - DETERMINATION OF SELECTED PERFLUORINATED ALKYL
537
ASTM D6239-09 | STAND-2084 | A
EPA 150.1 | MCKEN-1090, DMAR-1123, ASLS-1258, ASLS-1363, ASLS-1534, ASLS-1570, ASLS-1587, TAX-1668, ASLS-1004, ASLS-1006, MCKEN-1254, DMAR-1358, ASLS-1419, ASLS-1545, ASLS-1569, ASLS-2027, MCKEN-1093, BOLIN-1234, ATI-1378, ASLS-1651, ASLS-1040, MCKEN-1041, MCKEN-1109, ASLS-1265, ASLS-1300, BOLIN-1338, ASLS-1597, ASLS-1105, STAND-1150, BOLIN-1240, VISTA-1476, ASLS-1558, ASLS-1571, TAX-1634, TAX-1645, ASLS-1256, ASLS-1257, DMAR-1350, ASLS-1351, ENS-1432, BOLIN-1512, ASLS-1588, MCKEN-1259, ASLS-1273, ASLS-1307, ASLS-1329, TURN-1422, DMAR-1425, ASLS-1095, BOLIN-1267, ASLS-1418, ASLS-1424, ASLS-1541 | A
SM 2550B-00 | XEN-2049, STAND-2050 | A
110.3 | STAND-2021 | A
SM 2580B | STAND-1065 | A
SM 2510B | DMAR-1123, TAX-1668, DMAR-1358, XEN-2049, BOLIN-1338, STAND-1529, TAX-1645, DMAR-1350, TAX-2046, DMAR-1425, TAX-1700 | A
SM 4500-OD | STAND-2106 | A
EPA 9040 | STAND-1074 | A
EPA 9040B | STAND-2070 | A
E 1664 | STAND-1102 | A
EPA 350.2 | BOLIN-1234, BOLIN-1338, BOLIN-1240, VISTA-1476, STAND-1232, BOLIN-1267 | A
SM 4500 NO3-F | ASLS-1597, STAND-1595 | A
EPA 351.3 | MCKEN-1090, MCKEN-1254, BOLIN-1234, MCKEN-1109, STAND-1228, BOLIN-1338, BOLIN-1240, VISTA-1476, MCKEN-1259, MCKEN-1235, BOLIN-1267 | A
EPA 351.4 | STAND-1247, ACT-1661 | A
EPA 200.7-DISS | STAND-1581 | A
EPA 9010 | STAND-1614 | A
ILM 05.4 | STAND-1880 | A
EPA 335.1 | ASLS-1335, STAND-1458 | A
SM 4500-S-C,D | DMAR-1325, STAND-1060 | A
EPA 130.2 | STAND-1149, ASLS-1258, ASLS-1363, ASLS-1534, ASLS-1570, ASLS-1587, ASLS-1004, ASLS-1006, ASLS-1419, ASLS-1426, ASLS-1569, ASLS-2027, ASLS-1651, ASLS-1040, ASLS-1239, ASLS-1265, ASLS-1300, ASLS-1597, ASLS-1105, ASLS-1558, ASLS-1571, ASLS-1256, ASLS-1257, ASLS-1351, ASLS-1588, ASLS-1273, ASLS-1307, ASLS-1095, ASLS-1418, ASLS-1424, ASLS-1541 | A
SM 2340C | ASLS-2029, ASLS-1760, ASLS-1920, ASLS-1800, ASLS-1900, ASLS-1820, STAND-1659, ACT-1661, ASLS-1680 | A
BLS-182 | ASLS-1332 | A
EPA 242.1 | ASLS-1534, STAND-1475, VISTA-1476 | A
EPA 200.8 | ASLS-2029, ASLS-1760, ASLS-1920, XEN-2049, ASLS-1800, ASLS-1900, ASLS-1820, TAX-1700, TAX-2045, STAND-1321 | A
SW7610 | STAND-1482, BCLAB-1449 | A
SM 4500SO4 D | STAND-1664, ACT-1661 | A
SM 4500-SI G | STAND-1609 | A
EPA 200.9 | DMAR-1238, ASLS-1258, ASLS-1266, ASLS-1363, ASLS-1570, ASLS-1587, TAX-1668, ASLS-1364, ASLS-1419, ASLS-1545, ASLS-1569, ASLS-2027, ASLS-2029, BOLIN-1234, ASLS-1551, TAX-1646, ASLS-1651, ASLS-1760, ASLS-1920, ASLS-1265, ASLS-1279, ASLS-1300, BOLIN-1338, ASLS-1542, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, STAND-1156, BOLIN-1240, TPL-1509, ASLS-1558, ASLS-1571, TAX-1632, ASLS-1820, ASLS-1256, ASLS-1257, ASLS-1351, ASLS-1355, TPL-1392, BOLIN-1512, ASLS-1588, DMAR-1124, ASLS-1273, ASLS-1307, ASLS-1329, DMAR-1357, TURN-1422, DMAR-1425, TAX-1633, ASLS-1095, ASLS-1241, ASLS-1243, BOLIN-1267, BOLIN-1268, ASLS-1418, ASLS-1424, ASLS-1541, ASLS-1680 | A
SW7061 | STAND-1487, BCLAB-1449 | A
EPA 213.2/7131 | ATI-1385, STAND-1380 | A
EPA 218.1 | VISTA-1465, STAND-1470 | A
CU200.7 | STAND-1370 | A
SM 3500 FE-D | STAND-2056 | A
EPA 7421 | STAND-1066 | A
ERI SOP | STAND-1068 | A
EPA 7199 | STAND-2123 | A
EPA 8270 SIM | STAND-1860 | A
BLS-218 | STAND-1528, ASLS-1361 | A
EPA 515.4 | STAND-2118 | A
CARBAMATE METHOD | STAND-1540, ADA-1539 | A
419 | DMAR-1340 | A
U-NAT | STAND-2042 | A
EPA 622 | ATI-1037, STAND-1142 | A
SOM01_2 | STAND-1840 | A
EPA 5030/8021B | DMAR-1628, STAND-1629 | A
9221-E | TPL-1396, STAND-1395 | A
SM 9222 | STAND-1073 | A
EPA 8021 | DMAR-1502, STAND-1501 | A
EPA 8080A | STAND-2072 | A
EPA 8330A | STAND-1666 | A
EPA 614 | STAND-1139, ATI-1024, ASLS-1034 | A
SM 8020M | STAND-1217 | A
CASRL/MOD 300.0 | BOLIN-1349 | A
EPA 332.0 | STAND-1740, USGS-1720 | A
SM 4500-BR C | STAND-1603 | A
EPA 245.1 | MCKEN-1090, DMAR-1238, ASLS-1258, ASLS-1534, ASLS-1587, TAX-1668, ASLS-1004, ASLS-1006, MCKEN-1042, MCKEN-1093, BOLIN-1234, COLUM-1314, VISTA-1465, TAX-1646, XEN-2049, MCKEN-1109, ASLS-1279, BOLIN-1338, VISTA-1495, ASLS-1002, STAND-1165, BOLIN-1240, ASLS-1571, TAX-1632, TAX-2044, XEN-2055, ALTA-1083, ASLS-1092, ASLS-1256, TPL-1392, ENS-1433, BOLIN-1512, AZTL-1111, DMAR-1124, MCKEN-1259, DMAR-1324, DMAR-1357, TURN-1422, DMAR-1425, TAX-1633, TAX-1700, ASLS-1039, ASLS-1241, BOLIN-1267, BOLIN-1268 | A
EPA 7470A | ASLS-1427, COLUM-1313, STAND-1311 | A
EPA 245.1/7470 | ATI-1385, STAND-1381 | A
EPA 180.1 | DMAR-1123, ASLS-1258, ASLS-1363, ASLS-1534, ASLS-1570, ASLS-1587, TAX-1668, ASLS-1006, ASLS-1004, DMAR-1358, ASLS-1419, ASLS-1569, ASLS-2027, ASLS-2029, STAND-1153, ATI-1378, ASLS-1651, ASLS-1760, ASLS-1920, XEN-2049, ASLS-1265, ASLS-1300, BOLIN-1338, ASLS-1597, ASLS-1800, ASLS-1900, ASLS-1105, BOLIN-1240, ASLS-1558, TAX-1645, ASLS-1820, ASLS-1256, ASLS-1257, DMAR-1350, ASLS-1351, ASLS-1588, TAX-2046, ASLS-1273, ASLS-1307, DMAR-1425, TAX-1700, ASLS-1039, ASLS-1095, BOLIN-1267, ASLS-1418, ASLS-1424, ASLS-1541, ACT-1661, ASLS-1680 | A
EPA 8270 MODIFIED | STAND-1565 | A
00-07 | STAND-1552 | A
900 | STAND-1549 | A
EPA 1630 | STAND-1658 | A
EPA 170.1 | STAND-1204 | A
HACH8000 | STAND-1081 | A
SM 4500-OA | STAND-2103 | A
SM 4500-OF | STAND-2108 | A
SM 4500 H+B | STAND-1662, ACT-1661 | A
S249 | STAND-2022 | A
SM-2320 | STAND-1205 | A
SM 4500 | STAND-1242, BOLIN-1240, BOLIN-1267 | A
CALCULATION | ASLS-1326, ASLS-1363, ASLS-1006, STAND-1219, ASLS-1419, ASLS-1426, ASLS-1569, ASLS-2027, ASLS-2029, BOLIN-1234, TPL-1398, ASLS-1651, ASLS-1760, ASLS-1920, ASLS-1239, ASLS-1300, DMAR-1325, BOLIN-1338, ASLS-1597, ASLS-1800, ASLS-1900, TPL-1509, ASLS-1558, ASLS-1820, ASLS-1257, ASLS-1351, ASLS-1588, TAX-2046, ASLS-1273, TAX-1700, BOLIN-1267, ASLS-1418, ASLS-1424, ASLS-1541, ASLS-1680 | A
EPA 3510/8015 MOD | STAND-1088, DMAR-1318 | A
EPA 353.3 | VISTA-1476, STAND-1246 | A
EPA 300.1 | STAND-1177 | A
EPA 353.2T | STAND-1373 | A
SM 4500NO3 E | ACT-2026, DMAR-1359, STAND-1459, ACT-1661 | A
EPA 415.1 | DMAR-1500, STAND-1214, DMAR-1325, ENS-1432 | A
SM 4500 C | STAND-1215 | A
SM2340B MOD | STAND-1940 | A
EPA 215.1 | ASLS-1534, STAND-1474, VISTA-1476 | A
EPA 200.7/242.1 | ASLS-1004, ASLS-1006, ASLS-1040, ASLS-1002, ALTA-1083, STAND-1050 | A
STD METH 407C | ASLS-1534, ASLS-1004, ASLS-1006, ASLS-1040, ASLS-1097, STAND-1051 | A
EPA 340.3 | STAND-1488, BCLAB-1449 | A
SM 4500-SI B | STAND-1604 | A
EPA 270.3 | STAND-2038 | A
EPA 7741A | STAND-2039 | A
SM 4500-B B | STAND-1599 | A
CALCULATED CR3 | STAND-1575 | A
EPA 236.1 | ASLS-1534, VISTA-1465, STAND-1471 | A
EPA 7740 | COLUM-1312, STAND-1455, COLUM-1313 | A
EPA 608 | MCKEN-1100, ASLS-1035, ADA-1547, ATI-1020, ADA-1546, STAND-1133 | A
GWPL-PEST | ASLS-1303 | A
EPA 8141B | STAND-2091 | A
903.1 | STAND-1556, RSE-1550 | A
AB | STAND-1460, ASURM-1107 | A
EPA 502.2 | ATI-1387, DMAR-1410, AZTL-1112, ATI-1297, ASLS-1305, TPL-1391, STAND-1194, ATI-1295, ATI-1261, ATI-1271, ATI-1342, DMAR-1561, ASLS-1003, MCKEN-1098, MCKEN-1639 | A
EPA 8150B | STAND-2079 | A
EPA 8260A | OCAL-1405, STAND-1076 | A
EPA 604 | STAND-1129 | A
EPA 508 | STAND-1198, ATI-1262, ASLS-1001 | A
9221-D | TPL-1396, STAND-1394 | A
COLILERT | STAND-1399 | A
EPA 9131 | STAND-2077 | A
EPA 8010 | WTECH-1296, STAND-1058 | A
MOD. EPA 8015/8020 | DMAR-1319 | A
EPA 8082A | STAND-2088 | A
EPA 504 | ATI-1264, STAND-1196 | A
EPA 8011 | STAND-1585 | A
EPA 502.1 | STAND-2069 | A
CA LUFT | STAND-1103 | A
SM 4500-BR B | STAND-1602 | A
SM 5320 | STAND-1577 | A
LUCAS CELL | BOLIN-1274, STAND-1531 | A
EPA 522 | STAND-2114 | A
ELAP-HML939-M | STAND-2085 | A
SMEW&W #3500CRD |  | A | STD MTHDS FOR EXAM. OF WTR & WW,PART 3500-CR D.-COLORIMETRIC
EPA 8020 |  | A | AROMATIC VOLATILE ORGANICS
EPA 8030 |  | A | ACROLEIN, ACRYLONITRITE, ACETONITRILE
EPA 8040 |  | A | PHENOLS
EPA 8060 |  | A | PHTHALATE ESTERS
EPA 8090 |  | A | NITROAROMATICS AND CYCLIC KETONES
EPA 8120 |  | A | CHLORONATED HYDROCARBONS
EPA 8150 |  | A | CHLORINATED HERBICIDES
SM 8015M |  | A | STANDARD METHOD 8015M
BLS 208 |  | A | CHLORINATED PESTICIDE SCREEN
U OF A |  | A | ISOTOPIC ANALYSIS - H & O ISOTOPES
SM 10200 H |  | A | STANDARD METHOD FOR 10200 H
EPA 160.4 |  | A | TOTAL RESIDUE
EPA 5030B |  | A | VOLATILE ORGANIC COMPOUNDS
EPA 7471A |  | A | MERCURY IN SOLID OR SEMISOLID WASTE
WALKLEY BLACK |  | A | WALKLEY BLACK METHOD
EPA 160.3 |  | A | TOTAL RESIDUE
EPA 1638 |  | A | CLEAN HANDS TRACE METALS ICP/MS
BART TEST |  | A | BART TEST (PRESENTS/ABSENCE)
SM 2580(MOD) |  | A | STANDARD MEHTOD 2580 (MODIFIED)
SM 4500SO4(MOD) |  | A | STANDARD MEHTOD 4500SO4 (MODIFIED)
EPA 1603 |  | A | E.COLI MODIFIED MTEC
EPA 1631 |  | A | MERCURY IN WATER BY OXIDATION, PURGE AND TRAP, AND CVAFS
EPA 1631 APP |  | A | EPA 1631 APP
SOP |  | A | SOP
SM 3500 MOD |  | A | SM 3500 MOD
EPA 200.9 MOD |  | A | EPA 200.9 MOD
ASTM D3977 |  | A | ASTM D3977
EPA 365.1 |  | A | ORTHOPHOSPHATE, AUTOMATED
SM 3540D |  | A | TOTAL SUSPENDED SOLIDS
SM 9230B |  | A | FECAL STREP, MUTI-TUBE TECHNIQUE
SW846 |  | A | SW846
SM 3114C |  | A | ARSENIC AND SELENIUM, CONTINUOUS
EPA 219.1 |  | A | TOTAL COBALT, DIRECT ASPIRATION
EPA 239.1 |  | A | TOTAL LEAD, DIRECT ASPIRATION
EPA 150.6 |  | A | PH - LAB (SYRINGE)
EPA 120.6 |  | A | SPECIFIC CONDUCTIVITY - YSI CONDUCTIVITY
EPA 100.2 |  | A | COLOR, ASBESTOS
LACHAT 10-107-06-3-D |  | A | AMMONIA NITROGEN
EPA 370.1 |  | A | SILICA
SM 3113B |  | A | METALS BY ELECTROTHERMAL ATOMIC ABSORP SPECTROMETRY
SW 9012B |  | A | TOTAL AND AMENABLE CYANIDE
SM 9221E |  | A | STANDARD METHOD - FECAL COLIFORM
SM 9221F |  | A | STANDARD METHOD - E COLI
EPA 325.1 |  | A | CHLORIDE BY AUTOMATED COLORIMETRY
SM 2120 |  | A | COLOR
SM 7110 |  | A | GROSS ALPHA, GROSS BETA
SM 7500-RA |  | A | RADIUM
SM 7500-U |  | A | URANIUM
SM 3114 B |  | A | SELENIUM
EPA 375.3 |  | A | SULFATE - GRAVIMETRIC
EPA 7060 |  | A | EPA 7060
EPA 9012 |  | A | EPA 9012
EPA 9050 |  | A | EPA 9050
SM 2540B |  | A | TOTAL SOLIDS DRIED AT 103-105 DEG C
EPA 900 |  | A | ALPHA, GROSS
SM 3220B |  | A | TOTAL ALKALINITY AS CACO3
SM2340 C |  | A | HARDNESS (AS CACO3)
EPA 265.2 |  | A | RHODIUM (AA, FURNACE TECHNIQUE)
SM 2540G |  | A | TOTAL FIXED AND VOLATILE SOLIDS IN SOLID AND SEMISOLID SAMP
HACH 8167 |  | A | METHOD 8167, DPD METHOD, TOTAL CHLORINE
SM 4500NH3 D MOD. |  | A | AMMONIA (AS N) IN SEDIMENT
BLS 82 |  | A | TOTAL RESIDUE
EPA 353.3 (MOD.) |  | A | NITRATE PLUS NITRITE - N
EPA 351.4 (MOD.) |  | A | KJELDAHL NITROGEN
HACH HS-C |  | A | HYDROGEN SULFIDE
SM 4500 CL C |  | A | CHLORIDE, IODOMETRIC METHOD II
EPA 7473 |  | A | MERCURY IN SOLIDS (FISH TISSUE)
EPA 245.7 |  | A | MERCURY IN WATER BY COLD VAPOR ATOMIC FLOURESCENCE SPECTROM
SM 3111 B |  | A | SM 3111 B
SM 3500-K D |  | A | SM 3500-K D
SM 3500-AS B |  | A | SM 3500-AS B
ASTM D3977B |  | A | ASTM 3977B, TOTAL SUSPENDED SOLIDS
ASTM D3977C |  | A | ASTM 3977C, SEDIMENT CONCENTRATION
SM2310B |  | A | ACIDITY
SM4500-CL E |  | A | CHLORINE BY LOW-LEVEL AMPEROMETRIC TITRATION METHOD
SM 4500-CN E |  | A | CYANIDE, TOTAL
SM 4500-S F |  | A | STANDARD METHOD 4500-S F
SM 2310B |  | A | SM 2310B
SM 4500-CIE |  | A | SM 4500-CIE
EPA 1600 |  | A | ENTEROCOCCI
EPA 7474 |  | A | MERCURY IN SEDIMENT
SM2550B-00 |  | A | PH TEMPERATURE BY SM2550B-00
00048 |  | A | NUTRIENTS, WATER, FILTERED, COLOR, DA
00049 |  | A | NUTRIENTS, WATER, FILTERED, NAR, COLORIMETRIC
00127 |  | A | PIC
ALGOR |  | A | COMPUTATION BY NWIS ALGORITHM
CAL06 |  | A | POC, CALCULATED
CAL13 |  | A | 2,4-D PLUS 2,4-D ME, MOLAR SUM
CL020 |  | A | P, WATER, FILTERED, FCC, PERSULFATE, CF
CL021 |  | A | P, WATER, UNFILTERED, WCA, PERSULFATE, CF
CL037 |  | A | NUTRIENTS, SALIC/HYPO, COLOR
CL041 |  | A | NUTRIENTS, WATER, FILTERED, COLORIMETRIC
CL048 |  | A | NUTRIENTS, CD REDUCT, COLOR
CL053 |  | A | NUTRIENTS, PHOSPHOMOLYBDATE, COL
CL057 |  | A | NUTRIENTS, LOWLVL, PHOSPHOMOLYBD
COMB6 |  | A | TPC, GFF, COMBUSTION
COMB7 |  | A | TPN, GF/F, COMBUSION
EL006 |  | A | PH, LAB, AUTO GLASS ELECTRODE
GCM29 |  | A | FIPRONIL & DEGRADATES, WATER, GC-MS
GCM31 |  | A | PEST, HI USE, SUPP, SPE, GCMS-SIM
GCM32 |  | A | PESTICIDES, WATER, SPE GC-MS
GCM33 |  | A | PEST, HI USE, ADDON, SPE, GCMS-SIM
GCM35 |  | A | PEST, HIGH USE, SPE, GCMS-SIM
GCM39 |  | A | PESTICIDES-NWQL S2002, LAB EXTR
GCM40 |  | A | PESTICIDES-PRE-S2002 APPROVAL
GF075 |  | A | CHROMIUM, WATER, FILTERED, GFAAS
IC022 |  | A | ANIONS, WATER, FILTERED, IC
ISE05 |  | A | ANIONS, WATER, FILTERED, ISE
KJ002 |  | A | NH4+ORG-N, WATER, FILTERED, FCC, KJELDAHL, CF
KJ005 |  | A | P, WATER, FILTERED, FCC, KJELDAHL, CF
KJ008 |  | A | NH4+ORG-N, WATER, UNFILTERED, WCA, KJELDAHL, CF
KJ009 |  | A | PHOSPHORUS, WATER, UNFILTERED, MICROKJ ASF, H+
LCM29 |  | A | PEST, POLAR, WATER, FILTERED, SPE, HPLC-MS
OTSD |  | A | GAGE HEIGHT, OUTSIDE GAGE
OX006 |  | A | DOC,0.45UM CAP, ACID, PERSULFATEIR
PLA11 |  | A | METALS, WATER, FILTERED, ICP-AES (NWQL)
PLM10 |  | A | ELEMENTS, WATER, FILTERED, CICP-MS
PLM40 |  | A | METALS, WATER, ICP-MS (NWQL)
PLM43 |  | A | METALS, WATER, FILTERED, ICP-MS
PLO03 |  | A | POTASSIUM, WATER, FILTERED, BY ICP-OES
QADCP |  | A | DISCH., MEAS., ADCP MOVING BOAT
ROE10 |  | A | ROE, WATER, FILTERED, 180C, BY WEIGHT (NWQL)
SED02 |  | A | DRY SIEVE
SED16 |  | A | SEDIMENT CONC FROM SIZE ANALYSIS
TBD01 |  | A | TURBIDITY, BY TURBIDIMETER
TS098 |  | A | HACH, SENSOR MODEL 2100 AN, R-ON
TT040 |  | A | ALKALINITY, TITRATION PH 4.5 (NWQL)
UV002 |  | A | UV ABSORBING ORGANICS, 280NM, SUPOR (ANNON)
UV006 |  | A | UV ABSORBERS, 254NM, SUPORFILTER (NWQL)
WHT03 |  | A | SPECIFIC COND, LAB, AUTOM BRIDGE
PAI-DK01 |  | A | TOTAL KJELDAHL NITROGEN: BLOCK DIGESTION, TITR. DETECTION
BAROM |  | A | ATMOSPHERIC PRESSURE, BAROMETER METHOD
SC001 |  | A | SPECIFIC ELECTRICAL CONDUCTANCE, FLD, CONTACTING-TYPE SENSOR
SC003 |  | A | SPECIFIC CONDUCTANCE, WATER, FIELD, ELECTROMETRY
SLD04 |  | A | SUSPENDED SOLIDS, DRIED AT 105C, BY WEIGHT
AKP01 |  | A | NUTRIENTS, WU, ALK PERSULF. DIGEST., CONT. FLOW COLORIMETRY
BAC19 |  | A | ESCHERICHIA COLI, MODIFIED M-TEC MF METHOD
CV014 |  | A | MERCURY, WF, CV-AFS
CV018 |  | A | MERCURY, WU, CV-AFS
PLA15 |  | A | METALS, UNFILTERED WATER - ICP-AES
PLM11 |  | A | ELEMENTS IN UNFILTERED WATER - CRC ICP-MS
PLM47 |  | A | METALS, UNFILTERED WATER - ICP-MS
PLM48 |  | A | METALS, UNFILTERED WATER - ICP-MS
SED09 |  | A | SEDIMENT CONC BY EVAPORATION
SED10 |  | A | SEDIMENT CONC BY FILTRATION
THM01 |  | A | TEMPERATURE, WATER, THERMISTOR THERMOMETER
THM05 |  | A | TEMPERATURE, AIR, LIQUID-IN-GLASS THERMOMETER
THM04 |  | A | TEMPERATURE, AIR, THERMISTOR THERMOMETER
QSTGQ |  | A | DISCHARGE, STAGE-DISCHARGE RATING CURVE METHOD
QSCMM |  | A | DISCHARGE, MEASURED, MIDSECTION METHOD
PROBE |  | A | PH, FIELD, ELECTROMETRIC
EL009 |  | A | PH, WATER, FIELD, GLASS ELECTRODE (NRP @ CO WSC)
TT061 |  | A | ALKALINITY, INFLECTION-POINT TITRATION (INCREMENTAL), HACH
GWPL LC/MS |  | A | GWPL LC/MS (PEST)
SM 4500 CL B |  | A | CHLORIDE BY ARGENTOMETRIC METHOD
SM 4500-CN G |  | A | CYANIDES AMENABLE TO CHLORINATION
MS042 |  | A | C-13/C-12 IN DOC, WATER, BY MS
MS007 |  | A | DEUTERIUM/PROTIUM, WU, BY MS
MS020 |  | A | OXYGEN-18/16, WU, BY MS
TT057 |  | A | ALKALINITY, FIELD, GRAN TITRATION, BURET
TT017 |  | A | BICARBONATE, WF, FIELD, INCREMENT
IC004 |  | A | NITRATE, WF, IC
TT023 |  | A | HYDROXIDE, WF, FIELD, INCREMENT
CL050 |  | A | NUTRIENTS, LOW, CD REDUCT, COLOR
TT019 |  | A | CARBONATE, WF, FIELD, INCREMENT
SED30 |  | A | WET SIEVE
TT013 |  | A | ALKALINITY, WF, FIELD, INCREMENT
PLA13 |  | A | METALS, WF, SUPPLIMENT, ICP-AES
Q-EST |  | A | DISCHARGE, ESTIMATED
SM18 4500 NH3F/G |  | A | STANDARD METHOD 18TH ED. AMMONIA AS N SUBSECT F OR G
EPA 1638 DRC |  | A | TRACE METALS ICP/MS WITH DYNAMIC REACTION CELL
AS089 |  | A | URANIUM-234, DISS., ALPHA SPECTROMETRY
AS094 |  | A | URANIUM-234, TOTAL, ALPHA SPECTROMETRY (EBERLINE SERVICES)
AS101 |  | A | URANIUM-235, DISS., ALPHA SPECTROMETRY (EBERLINE SERVICES)
AS102 |  | A | URANIUM-235, TOTAL, ALPHA SPECTROMETRY (ANALYSIS: EBERLINE)
AS105 |  | A | URANIUM-238, DISS., ALPHA SPECTROMETRY
AS110 |  | A | URANIUM-238, TOTAL, ALPHA SPECTROMETRY (ANALYSIS: EBERLINE)
ASM01 |  | A | INFLECTION-POINT TITRATION METH. W ADVANCED SPECIATION METH.
BC009 |  | A | GROSS BETA RADIOACTIVITY, CESIUM-137 CURVE, DISS., PCI/L
CL151 |  | A | DISS. SILICA BY REDUCED SILICOMOLYBDATE ACID COLORIMETRY
COMB9 |  | A | TOC IN UNFILTERED WATER BY HIGH TEMPERATURE COMBUSTION
GRV28 |  | A | MOISTURE CONTENT OF BOTTOM MATERIAL, BY WEIGHT
IC003 |  | A | ION CHROMATOGRAPHY FLUORIDE
ISE04 |  | A | FLUORIDE IN FILTERED WATER BY ION SELECTIVE ELECTRODE
KJ004 |  | A | PHOSPHORUS, DISS., ACID-FCA, KJELDAHL DIGEST, CF COLORIMETRY
LSC14 |  | A | TRITIUM, ELECTROLYTIC ENRICH. LIQUID SCINTILL. (RESTON LAB)
SM 4500-NH3 C MOD |  | A | STANDARD METHOD 4500 NH3 C (MODIFIED)
SM 4500-NH3 E MOD |  | A | STANDARD METHOD 4500 NH3 E (MODIFIED)
SM 4500-NORG,C MOD |  | A | STANDARD METHOD 4500-NORG,C (MODIFIED)
EPA 6020A |  | A | INDUCTIVELY COUPLED PLASMA-MASS SPECTROMETRY
LUMIN |  | A | DISS. OXYGEN, LUMINESCENCE QUENCHING (LUMINESC-BASED SENSOR)
EPA 150.1 MOD |  | A | PH- LAB (MODIFIED)
MEMBR |  | A | DISS. OXYGEN, AMPEROMETRIC (MEMBRANE ELECTRODE METHOD)
SM 4500SO4 D MOD |  | A | STANDARD MEHTOD 4500 SO4 D (MODIFIED)
OX008 |  | A | DOC IN WTR, 0.7UM GF/F FILTER, PERSULFATE OXIDATION, IR SPEC
EPA M 1631 |  | A | COLD VAPOR ATOMIC FLUORESCENCE SPECTROSCOPY (CVAFS)
PLA14 |  | A | METALS, BED SEDIMENT, ICP-AES
PLM13 |  | A | SEDIMENT/SOIL ELEMENTS, C/R ICP-MS
PLM46 |  | A | METALS, BED SEDIMENT, ICP-MS
PLO01 |  | A | POTASSIUM, TOT. RECOVERABLE FROM UNFILTERED WATER BY ICP-OES
QFLUM |  | A | DISCHARGE, MEASURED, FLUME
QVOLM |  | A | DISCHARGE, MEASURED, VOLUMETRIC
HACH 8008 |  | A | Iron, Ferrous, Test Kit
HACH 8008 CAL |  | A | Using HACH 8008 to get ferrous iron. Taking total from another method (EPA 200.8) and substracting the ferrous to get ferric.
Polyclonal ELISA - ADDA Specific |  | A
Volatile Fatty Acids by Ion Chromatography |  | A | Volatile Fatty Acids by Ion Chromatography with code VFA_IC.
We do not reference a specific method number for VFA by Ion Chromatography. The method used for the SOP is a Dionex proprietary method modification of Standard Methods 5560 `Organic and Volatile Acids? | VFA_IC
UNSPECIFIED |  | A | Generic entries
SM 4500-NH3 BDE |  | A | Standard Methods 4500-NH3 Nitrogen (Ammonia)
DZ001 |  | A | USGS method, Nitrite by Kone
PHM01 |  | A | USGS method, ortho-PO4 by Kone
PLM77 |  | A | USGS method, metals by cICP-MS
PLM78 |  | A | USGS method, metals by ICP-MS
PLO07 |  | A | USGS method, metals by ICP
6860 |  | A | Perchlorate in Water and Solids by IC/MS/MS [SW-846 Method 6860]